| Flag of Ship | Singapore |
| --- | --- |
| IMO Number |  |
| Name of Ship |  |

|  | Items to be checked | Req. | YES | NO | NA | Remark |
| --- | --- | --- | --- | --- | --- | --- |
| Title 3 | Accommodation and recreational facilities |  |  |  |  |  |
| 1 | General |  |  |  |  |  |
| 1.1 | The materials used to construct internal bulkheads, panelling and sheeting, floors and joints are suitable and conducive to ensuring a healthy environment for the seafarers. | Regulations 6_(1A) |  |  |  |  |
| 1.2 | External bulkheads of sleeping rooms and mess rooms are adequately insulated. All machinery casings and all boundary bulkheads of galleys and other spaces in which heat is produced are adequately insulated where there is a possibility of resulting heat effects in adjoining accommodation or passageways. Care also is taken to provide protection from heat effects of steam and/or hot water service pipes. | Regulations 6_(3) |  |  |  |  |
| 1.3 | Internal bulkheads are of approved material which is not likely to harbour vermin. | Regulations 6_(4) |  |  |  |  |
| 1.4 | Sleeping rooms, mess rooms, recreation rooms and alley-ways in the crew accommodation space are adequately insulated to prevent condensation or overheating. | Regulations 6_(5) |  |  |  |  |
| 1.5 | Main steam and exhaust pipes for winches and similar gear passes through crew accommodation. (Not Permitted) | Regulations 6_(6) |  |  |  |  |
| 1.5.1 | Above mentioned main steam and exhaust pipes, whenever technically possible, through alley-ways leading to crew accommodation; |  |  |  |  |  |
| 1.5.2 | If main steam and exhaust pipes pass through such alley-ways, they are adequately insulated and encased. |  |  |  |  |  |
| 1.6 | Inside panelling or sheeting is of material with a surface easily kept clean. | Regulations 6_(7) |  |  |  |  |
| 1.6.1 | Tongued and grooved boarding or any other form of construction likely to harbour vermin is used. (Not Permitted) |  |  |  |  |  |
| 1.7 | The construction of the accommodation comply with the relevant provisions of the Merchant Shipping (Safety Convention) Regulations (Rg 11) (as amended from time to time) as regards the fire prevention or fire-retarding measures. | Regulation 6_(8) |  |  |  |  |
| 1.8 | The wall surface and deckheads in sleeping rooms and mess rooms are made of a material with a surface easily kept clean and, if painted, is light in colour. Lime wash must not be used. | Regulations 6_(9) |  |  |  |  |
| 1.9 | The wall surfaces are renewed or restored as necessary. | Regulations 6_(10) |  |  |  |  |
| 1.10 | The decks in all crew accommodation are of approved material and construction and provide a non-slip surface impervious to damp and easily kept clean. | Regulations 6_(11) |  |  |  |  |
| 1.11 | Where the floorings are of composition, the joinings with sides are rounded to avoid crevices. | Regulations 6_(12) |  |  |  |  |
| 2 | Ventilation |  |  |  |  |  |
| 2.1 | The system of ventilation are controlled so as to maintain the air in a satisfactory condition and to ensure a sufficiency of air movement in all conditions of weather and climate. | Regulations 7_(2) |  |  |  |  |
| 2.2 | Except for those ships normally employed in the cold waters of the northern or southern hemispheres, ships engaged outside the tropics are equipped with either mechanical means of ventilation or electric fans. | Regulations 7_(4) |  |  |  |  |
| 2.3 | All new MLC ships, except for ships normally employed in the cold waters of the northern or southern hemispheres, are equipped with air-conditioning in all sleeping rooms, separate radio rooms and centralised machinery rooms. | Regulations 7_(5) |  |  |  |  |
| 2.4 | Power for the operation of the aids to the ventilation required by paragraphs (3), (4) and (5), when practicable, is available at all times when the crew is living or working on board and when conditions so require. | Regulations 7_(6) |  |  |  |  |
| 2.5 | Air-conditioning systems provided in all new MLC ships are controlled so as to maintain the air in a satisfactory condition and to ensure a sufficiency of air movement in all conditions of weather and climate. | Regulations 7_(7) |  |  |  |  |
| 2.5.1 | Air-conditioning systems produce excessive noise or vibration. (Not Permitted) |  |  |  |  |  |
| 3 | Heating system |  |  |  |  |  |
| 3.1 | An adequate system of heating the crew accommodation is provided except in ships engaged exclusively in voyages in the tropics or the Persian Gulf. | Regulations 8_(1) |  |  |  |  |
| 3.2 | The heating system, when practicable, is in operation at all times when the crew is living or working on board and when conditions require its use. | Regulations 8_(2) |  |  |  |  |
| 3.3 | In any ship in which heating is provided by a stove, measures are taken to ensure that the stove is of sufficient size and is properly installed and guarded. | Regulations 8_(3) |  |  |  |  |
| 3.3.1 | Heating of new MLC ships is by means of steam in any crew accommodation area. (Not Permitted) |  |  |  |  |  |
| 3.4 | In any ship in which heating is provided by a stove, measures are taken to ensure that the stove is of sufficient size and is properly installed and guarded and it is satisfied that the air is not fouled. | Regulations 8_(4) |  |  |  |  |
| 3.4.1 | In any ship in which heating is provided by a stove, measures are taken to ensure that the air is not fouled. |  |  |  |  |  |
| 3.5 | The heating system is capable of maintaining the temperature in crew accommodation at a satisfactory level under normal conditions of weather and climate likely to be met with on service. Heat load calculations are submitted to the Director or an authorised organisation for approval to show that the heating system is capable of ensuring that the temperature in crew accommodation can be maintained at 21 degrees centigrade when the ventilation system provided for those rooms is working so as to supply at least 25㎥of fresh air per hour for each person for whom that room is designed and when the ambient temperature is -1 degree centigrade. | Regulations 8_(5) |  |  |  |  |
| 3.6 | Radiators and other heating apparatus are so placed and, where necessary, shielded as to avoid risk of fire or danger or discomfort to the occupants. | Regulations 8_(6) |  |  |  |  |
| 4 | Lighting arrangement |  |  |  |  |  |
| 4.1 | All crew spaces are adequately lighted. The minimum standard for natural lighting in living rooms is such as to permit a person with a normal vision to read on a clear day an ordinary newspaper in any part of the space available for free movement. When it is not possible to provide adequate natural lighting, artificial lighting of the above minimum standard is provided. | Regulations 9_(2) |  |  |  |  |
| 4.2 | Electric lights are provided in the crew accommodation. If there are not 2 independent sources of electricity for lighting, additional lighting is provided by properly constructed lamps or lighting apparatus for emergency use. | Regulations 9_(3) |  |  |  |  |
| 4.3 | Artificial lighting is so disposed as to give the maximum benefit to the occupants of the room. | Regulations 9_(4) |  |  |  |  |
| 4.4 | In sleeping rooms, an electric reading lamp is installed at the head of each berth. | Regulations 9_(5) |  |  |  |  |
| 5 | Sleeping rooms |  |  |  |  |  |
| 5.1 | Except in ships of less than 800 tons, there are a sufficient number of sleeping rooms to provide a separate room or rooms for each department. | Regulations 10_(8) |  |  |  |  |
| 5.2 | In the case of passenger ships, the number of persons allowed to occupy sleeping rooms exceeds the following maxima. (Not Permitted) | Regulations 10_(9) | - | - |  |  |
| a | officers in charge of a department, navigating and engineer officers in charge of a watch and senior radio officers or operators -- 1 person per room; | Regulations 10_(9)(a) |  |  |  |  |
| b | other officers -- 1 person per room wherever possible, and in no case more than 2; | Regulations 10_(9)(b) |  |  |  |  |
| c | petty officers -- 1 or 2 persons per room, and in no case more than 2; | Regulations 10_(9)(c) |  |  |  |  |
| d | other ratings -- 2 or 3 persons per room wherever possible, and in no case more than 4. | Regulations 10_(9)(d) |  |  |  |  |
| 5.3 | The maximum number of persons to be accommodated in any sleeping room is indelibly and legibly marked in some place in the room where it can conveniently be seen. | Regulations 10_(11) |  |  |  |  |
| 5.4 | Berths are placed side by side in such a way that access to one berth can be obtained only over another. (Not Permitted) | Regulations 10_(13) |  |  |  |  |
| 5.5 | Berths are arranged in tiers of more than 2. (Not Permitted) | Regulations 10_(14) |  |  |  |  |
| 5.5.1 | In the case of berths placed along the ship’s side, there is only a single tier where a sidelight is situated above a berth. |  |  |  |  |  |
| 5.6 | The lower berths in a double tier are less than 30 cm above the floor. (Not Permitted) | Regulations 10_(15) |  |  |  |  |
| 5.6.1 | The upper berth is placed approximately midway between the bottom of the lower berth and the lower side of the deckhead beams. |  |  |  |  |  |
| 5.7 | The framework and the lee-board, if any, of a berth is of approved material, hard and smooth. | Regulations 10_(17) |  |  |  |  |
| 5.7.1 | The framework and the lee-board, if any, of a berth is likely to corrode or to harbour vermin. (Not Permitted) |  |  |  |  |  |
| 5.8 | If tubular frames are used for the construction of berths, they are completely sealed and without perforations which would give access to vermin. | Regulations 10_(18) |  |  |  |  |
| 5.9 | Each berth is fitted with a spring bottom or a spring mattress and with a mattress of approved material. | Regulations 10_(19) |  |  |  |  |
| 5.9.1 | Stuffing of straw or other material likely to harbour vermin is used for berth. (Not Permitted) | Regulations 10_(19) |  |  |  |  |
| 5.10 | When one berth is placed over another, a dust-proof bottom of wood, canvas or other approved material are fitted beneath the spring bottom of the upper berth. | Regulations 10_(20) |  |  |  |  |
| 5.11 | Sleeping rooms are so planned and equipped as to ensure reasonable comfort for the occupants and to facilitate tidiness. | Regulations 10_(21) |  |  |  |  |
| 5.11.1 | Sleeping rooms, as far as practicable, are attached to private sanitary facilities. | Regulations 10_(21) |  |  |  |  |
| 5.12 | The clothes lockers are less than 1.52 m in height and of a cross-section area of 0.193㎡(Not Permitted) | Regulations 10_(22) |  |  |  |  |
| 5.12.1 | The clothes lockers are fitted with a shelf and a locking means. The clothes locker have a minimum volume of 0.475㎥. |  |  |  |  |  |
| 5.13 | The furniture is of smooth, hard material not liable to warp or corrode. | Regulations 10_(24) |  |  |  |  |
| 5.14 | Sleeping rooms are fitted with curtains for the side-lights. | Regulations 10_(26) |  |  |  |  |
| 5.15 | Sleeping rooms are fitted with a mirror, small cabinets for toilet requisites, a book rack and a sufficient number of coat hooks. | Regulations 10_(27) |  |  |  |  |
| 6 | Mess room |  |  |  |  |  |
| 6.1 | The floor area of each mess room, other than a passenger ship, are less than 1.5㎡per person of the planned seating capacity. (Not Permitted) | Regulations 11_(2A) |  |  |  |  |
| 6.2 | Each mess room in a new MLC ship is equipped with - | Regulations 11_(2B) | - | - |  |  |
| a | a refrigerator placed at an accessible location and of sufficient capacity for the number of persons likely to use the mess room at any one time; | Regulations 11_(2B)(a) |  |  |  |  |
| b | facilities for hot beverages; and | Regulations 11_(2B)(b) |  |  |  |  |
| c | cool water facilities. | Regulations 11_(2B)(c) |  |  |  |  |
| 6.3 | Mess rooms are equipped with tables and seats of an approved type, sufficient for the number of persons likely to use them at any one time. | Regulations 11_(3) |  |  |  |  |
| 6.4 | Where available pantries are not accessible to mess rooms, adequate lockers for mess utensils and proper facilities for washing utensils are provided. | Regulations 11_(6) |  |  |  |  |
| 6.5 | The tops of tables and seats are of damp-resisting material, without cracks and capable of being easily cleaned. | Regulations 11_(7) |  |  |  |  |
| 7 | Recreation room |  |  |  |  |  |
| 7.1 | Recreation accommodation, conveniently situated and appropriately furnished, is provided for officers and for ratings. Where this is not provided separately from the mess rooms, the latter are planned, furnished and equipped to give recreational facilities. | Regulations 12_(2) |  |  |  |  |
| 7.2 | Recreational accommodation on all new MLC ships are furnished with a television, book-case with reading materials and facilities for reading, writing and, where practicable, games. | Regulations 12_(3) |  |  |  |  |
| 7.3 | All new MLC ships provide access to ship to shore telephone communications and email and Internet facilities, where available. | Regulations 12_(4) |  |  |  |  |
| 7.4 | If any fee is charged for the use of the communications or facilities referred to in paragraph (4), the fee is of a reasonable amount. | Regulations 12_(5) |  |  |  |  |
| 8 | Sanitary arrangement |  |  |  |  |  |
| 8.1 | The following minimum number of separate water closets are provided: | Regulations 13_(2) | - | - |  |  |
| a | in ships of less than 800 tons -- 3; | Regulations 13_(2)(a) |  |  |  |  |
| b | in ships of 800 tons or more, but less than 3,000 tons -- 4; | Regulations 13_(2)(b) |  |  |  |  |
| c | in ships of 3,000 tons or more -- 6; | Regulations 13_(2)(c) |  |  |  |  |
| d | in ships where the radio officers or operators are accommodated in an isolated position, sanitary facilities near or adjacent thereto is provided. | Regulations 13_(2)(d) |  |  |  |  |
| 8.2 | Cold fresh water and hot fresh water or means of heating water is available in all communal wash places -- | Regulations 13_(6) | - | - |  |  |
| a | the crew is provided with -- - fresh water of capacity sufficient to provide at least 72 litres per man per day and drinking water of capacity sufficient to provide at least 18 litres per man per day; or - (ii)drinkable water of capacity sufficient to provide at least 90 litres per man per day if the fresh water provided under sub-paragraph (i) is also of drinkable quality; | Regulations 13_(6)(a) |  |  |  |  |
| b | the number of days are sufficient to cover the longest voyage the ship is expected to undertake with a maximum of 30 days; | Regulations 13_(6)(b) |  |  |  |  |
| c | if a distilling or evaporating plant capable of producing -- - at least 144 litres of fresh water per man per day and at least 36 litres of drinking water per man per day; or - at least 180 litres of drinkable water per man per day, is provided, the water capacity to be provided for the crew may be reduced to at least 7 days" supply, or sufficient to cover the longest voyage the ship is expected to undertake, whichever is the less, subject to sub-paragraph (a). | Regulations 13_(6)(c) |  |  |  |  |
| 8.3 | Wash basins and tub baths are of adequate size and constructed of approved material with a smooth surface not liable to crack, flake or corrode. | Regulations 13_(7) |  |  |  |  |
| 8.4 | All water closets have ventilation to the open air, independently of any other part of the accommodation. | Regulations 13_(8) |  |  |  |  |
| 8.5 | All water closets are of a pattern approved by the Director or an authorised organisation and are provided with an ample flush of water, available at all times and independently controllable. | Regulations 13_(9) |  |  |  |  |
| 8.6 | Soil pipes and waste pipes are of adequate dimensions and are so constructed as to minimise the risk of obstruction and to facilitate cleaning. | Regulations 13_(10) |  |  |  |  |
| 8.7 | Sanitary accommodation intended for the use of more than one person comply with the following requirements: | Regulations 13_(11) | - | - |  |  |
| a | floors are of approved durable material, easily cleaned and impervious to damp, and are properly drained; | Regulations 13_(11)(a) |  |  |  |  |
| b | bulkheads are of steel or other approved material and are watertight up to at least 23 cm above the level of the deck; | Regulations 13_(11)(b) |  |  |  |  |
| c | the accommodation are sufficiently lighted, heated and ventilated; | Regulations 13_(11)(c) |  |  |  |  |
| d | water closets are situated convenient to, but separate from, sleeping rooms and wash rooms, without direct access from the sleeping rooms or from a passage between sleeping rooms and water closets to which there is no other access, except that this requirement is not apply where a water closet is located in a compartment between 2 sleeping rooms having a total of not more than 4 persons; | Regulations 13_(11)(d) |  |  |  |  |
| e | where there is more than one water closet in a compartment, it is sufficiently screened to ensure privacy. | Regulations 13_(11)(e) |  |  |  |  |
| 8.8 | In all new MLC ships, the facilities for washing clothes include – | Regulations 13A_(13a) | - | - |  |  |
| a | washing machines; | Regulations 13A_(13a) (a) |  |  |  |  |
| b | drying machines or adequately heated and ventilated drying rooms; and | Regulations 13A_(13a) (b) |  |  |  |  |
| c | irons and ironing boards or any equivalent facilities.”. | Regulations 13A_(13a) (c) |  |  |  |  |
| 8.9 | The facilities for drying clothes are provided in a compartment separate from sleeping rooms and mess rooms, adequately ventilated and heated and equipped with lines or other fittings for hanging clothes. | Regulations 13_(14) |  |  |  |  |
| 9 | Hospital |  |  |  |  |  |
| 9.1 | Hospitals are provided with one berth for every 50 or fraction of 50 members of the crew, and one berth for every additional 12 crew members or fraction thereof, above 50. | Regulations 14_(4) |  |  |  |  |
| 9.2 | Water closet in all ships accommodation in all ships are provided for the exclusive use of the occupants of the hospital accommodation, either as part of the accommodation or in close proximity thereto and in the case of new MLC ships, water closet accommodation comprise a minimum of one toilet, one wash basin and one tub or shower. | Regulations 14_(5) |  |  |  |  |
| 9.3 | An approved medicine chest with readily understandable instructions is carried in every ship which does not carry a doctor. | Regulations 14_(7) |  |  |  |  |
| 10 | Other arrangement |  |  |  |  |  |
| 10.1 | Sufficiently and adequately ventilated accommodation for the hanging of oil skins are provided outside, but convenient to, the sleeping rooms. | Regulations 15_(1) |  |  |  |  |
| 10.2 | Where separate facilities for engine department personnel to change their clothes are provided on a new MLC ship, they should be - - located outside the machinery space but with easy access to it; - fitted with individual clothes lockers; - fitted with tubs or showers or both; and - fitted with wash basins having hot and cold running fresh water. <<Not be forcible>> | Regulations 15_(3) |  |  |  |  |